Fire Safety Policy — Sparkhill

Providers are responsible for ensuring they follow the current version of the framework for their provider type.

*Delete as appropriate

At Greencoat Nursery CIC we take reasonable steps to ensure the safety of children, staff and others on the nursery premises in the case of a fire or other emergency through our Fire safety policy and emergency evacuation procedures.

The designated fire warden is Zahra Rashid and Hadiya Tariq.

We ensure the nursery premises are compliant with fire safety regulations, including following any major changes or alterations to the premises. The designated fire warden ensures all the appropriate fire detection and control equipment (e.g. fire alarms, smoke detectors, fire blankets and/or fire extinguishers) is in working order and seeks advice from the local fire safety officer as necessary.

They also have overall responsibility for the fire drill and emergency evacuation procedures. These are carried out and recorded for each group of children every three months or as and when a large change occurs, e.g. a large intake of children or a new member of staff joins the nursery. These drills are planned to occur at different times of the day and on different days of the week to ensure evacuations are possible under different circumstances and all children and staff participate in the rehearsals.

All staff receive fire safety and evacuation training (including as part of induction) to help them understand their roles and responsibilities. This includes the steps they must take to ensure the safety of children, for example keeping fire doors free from obstruction, how to safely evacuate the children and where the evacuation meeting point is situated. Each room has a specific evacuation plan, which includes information such as evacuating non-mobile babies and using alternative exits depending on where the fire may be situated.

The designated fire warden checks fire detection and control equipment and fire exits in line with the timescales within the checklist below.

Fire checklist

|  | Who checks | How often | Location |
| --- | --- | --- | --- |
| Escape route/fire exits (all fire exits must be clearly identifiable) |  |  |  |
| Emergency lighting |  |  |  |
| Fire extinguishers and blankets |  |  |  |
| Evacuation pack |  |  |  |
| Smoke and/or heat alarms |  |  |  |
| Fire alarms |  |  |  |
| Fire doors closed, in good repair, doors free of obstruction and easily opened from the inside |  |  |  |

The deputy fire warden is Hadiya Tariq, who oversees this role when Zahra Rashid is absent.

Registration

An accurate record of all staff and children present in the building must be kept at all times with children and staff marked in and out on arrival and departure. An accurate record of visitors is kept in the visitor’s book. These records are taken out along with the register and emergency contacts list in the event of a fire.

No smoking/vaping policy

The nursery operates a strict no smoking/vaping policy – please see this separate policy for details.

Fire drill procedure

On discovering a fire:

- Calmly raise the alarm by activating the nearest fire alarm call point

- Immediately evacuate the building under guidance from the fire marshal on duty (collecting children’s room registers, where applicable)

- Using the nearest accessible exit, lead all children out and assemble as follows: PLAN A (default) – exit via the rear of the building and assemble in the rear nursery car park. PLAN B (if rear exit is blocked by fire or smoke) – exit via the front of the building, turn the corner onto Mole Street, and lead all children to congregate by the wall immediately after the nursery car park entrance. IMPORTANT – PLAN B TRAFFIC SAFETY: children are NOT crossing any road. However, Mole Street carries neighbouring vehicle traffic. Child supervision must be exceptionally tight throughout. Every staff member not managing the evacuation cot or register must maintain physical contact with children at all times. The fire warden must position themselves between the children and the road. No child is to be released until the emergency services confirm it is safe to do so.

- Close all doors and windows behind you wherever possible

- All rooms at this site are on the ground floor. No evacuation from upper or lower floors is required.

- Staff carry unshod babies and young children. An emergency shoe bag with disposable covers is kept near the fire exit.

- Where any child or adult has a mobility difficulty, a personal emergency evacuation plan (PEEP) is agreed with them or their parent or carer in advance and held on the child or staff file. All staff are responsible for assisting any child or adult who requires support during evacuation. A member of staff is always assigned to any child with a known mobility need for the duration of their session.

- Do not stop to collect personal belongings on evacuating the building

- Do not attempt to go back in and fight the fire

- Do not attempt to go back in if any children or adults are not accounted for

- Wait for emergency services and report any unaccounted persons to the fire service and/or police.

If you are unable to evacuate safely:

- Stay where you are safe

- Keep the children calm and together

- Wherever possible alert the manager of your location and the identity of the children and other adults with you.

The designated fire warden is to:

- Collect the central children’s register, where applicable, staff register, nursery mobile/phone, keys, visitor book and fire bag and/or evacuation pack (containing emergency contacts list, nappies, wipes and blankets, etc.)

- Telephone emergency services: Dial 999 and ask for the fire service

- In the fire assembly point area – rear car park (primary) / Mole Street front (secondary) - account for all children against the register

- Account for all adults - staff and visitors

- Advise the fire service of anyone missing and possible locations and respond to any other questions they may have.

Remember

- Do not stop to collect personal belongings on evacuating the building

- Do not attempt to go back in and fight the fire

- Do not attempt to go back in if any children or adults are not accounted for.

This policy is updated at least annually in consultation with staff and/or after a fire evacuation practice and/or fire.

| This policy was adopted on | Signed on behalf of the nursery | Date for review |
| --- | --- | --- |
| March 2026 |  | April 2027 Taz Khan – Director, Greencoat Nursery CIC |